## Slide 1
www.surtron.com.au
Wireline Data Control
14th February 2015
Huw Rossiter
Business Development Manager
Surtron Technologies

## Slide 2
1. Introduction
2. Timeline of Data QC
3. Review of some common Data QC issues
Contents

## Slide 3
Introduction
Why is data QC important when gathering wireline data?
Why is accurate file management and record keeping important?

## Slide 4
Pre-mobilisation
Logging Company
Equipment R&M
Shop Calibrations
  Are they suitable for the resource type?
Client/ Geologist
Understanding of the tool limits and accuracies
Is there anything in the area that might affect the data?
  Temperature & Pressure
  Magnetics
What is the downhole environment going to be?
  Chip/ RC/ Diamond hole
  Hole size
  Drilling fluid
  Where is the water table?

## Slide 5
Example - Hole size on density

## Slide 6
Example - Magnetic effects on deviation data

## Slide 7
Example - Magnetic effects on televiewer

## Slide 8
Start of Program Plan
Prove equipment serviceability
  Gear damage
  Site Level Calibrations
  Depth calibration and repeatability
Onsite communication
End of campaign tie-off log

## Slide 9
Performing Logging
Live data assessment
  Does the data look as expected?
  Cross log checks
Processed log checks
  Software based checks
  Manual checks
Repeat Logs
Equipment Change-Out
Data Centre Review and Validation

## Slide 11
Performing Logging – Repeat Logs and Equipment Change

## Slide 12
Performing Logging – Data Centre Review and Validation
Provides consistency of:
Delivery
Version Control
Data Backup

## Slide 13
The future
Smarter use of software
Better communication technologies
Improved processes