Specification

| Model | : P660 MC PHAR GEOPHYSICS LIMITED TORONTO, CANADA. |
| --- | --- |
| Max Input Power | : 3.5 KVA |
| Output Voltage | : 0-690 V |
| Output Current | : 0- 5 A |
| Available Operating frequencies | : ± DC; 0.05; 0.1; 0.125; 0.3125; 1.25; 2.5 and 5 cps |
| Regulation | : 3% for 10 % input voltage variation 0.1% is typical |
| Operating Temperature | : - 20˚C to 60 C for 2.5 KVA input. - 40˚C operation with built in heater is optional for worst case. Most units operate at – 40˚C without extra heater |
| Weight | : Mounted on packboard 35 lbs |
| Generator | : JLO L 152 , 2.5 KV |

n = 4 txdwdkif:ódkif